**Underground Detention:** Inspection Checklist

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Project Name: | Click or tap here to enter text. |  | Owner's Name: | Click or tap here to enter text. | WPCOG-Symbol-Tagline-RGB |
| Project Address: | Click or tap here to enter text. |  | Owner’s Address: | Click or tap here to enter text. |  |
| BMP Name: | Click or tap here to enter text. |  | Owner’s Email / Phone: | Click or tap here to enter text. |  |
| BMP Location: | Click or tap here to enter text. |  | Inspection Date/Time: | Click or tap to enter a date. |  |
| Inspector Name: | Click or tap here to enter text. |  | Inspection Stage: | Initial Inspection |[ ]   |
| Inspector Contact: | Click or tap here to enter text. |  |  | Follow-up Inspection |[ ]   |

|  |
| --- |
| **General** |
| **Select** | **Question** | **Answer** |[x]  **Instruction** |
| Single    | Inspection type    | Annual compliance |[ ]    |
|  |  | Final construction |[ ]    |
|  |  | Maintenance bond |[ ]    |
|  |  | Routine maintenance |[ ]    |
|  |
| Single   | Owner's Annual Compliance Inspection Report Due?   | Not required |[ ]    |
|  |  | Complete |[ ]  Continue Annual Compliance Inspections as required. |
|  |  | Yes |[ ]  Submit Inspection Report to City / County Inspector. |
|  |
| Single     | Post Construction maintenance documentation     | Not required |[ ]    |
|  |  | None provided |[ ]  Provide documentation of BMP maintenance. |
|  |  | Escrow account information provided (POA / HOA)  |[ ]    |
|  |  | Invoices for maintenance provided |[ ]    |
|  |  | Maintenance reports provided |[ ]    |
|  |
| Single | Maintenance cost (previous 12 mos.) | Click or tap here to enter text. |  |   |
|  |

|  |
| --- |
| **Overall Condition** |
| **Select** | **Question** | **Answer** |[x]  **Instruction** |
| Multiple    | Site    | Satisfactory |[ ]  Continue maintenance. |
|  |  | Erosion in drainage area/insufficient ground cover |[ ]  Repair erosion and establish ground cover in drainage area. |
|  |  | Erosion in off-site drainage area |[ ]  Install measures to prevent sediment from entering the BMP and contact Inspector. |
|  |
| Multiple   | BMP  | Not accessible |[ ]  Make BMP accessible. |
|  |  | Satisfactory |[ ]  Continue maintenance. |
|  |  | Unsatisfactory |[ ]  Please see individual report sections below for details. |
|  |

|  |
| --- |
| **Inlet** |
| **Select** | **Question** | **Answer** |[x]  **Instruction** |
| Single | Storm water collection | Satisfactory |[ ]  Continue maintenance. |
|  |  | Bypass due to diversion / blockage |[ ]  Remove diversion / blockage. |
|  |  | Bypass due to structure |[ ]  Determine cause of bypass and repair structure. |
|  |
| Multiple | Inlet structure | Not required |[ ]   |
|  |  | Not accessible |[ ]  Make inlet accessible. |
|  |  | Satisfactory |[ ]  Continue maintenance. |
|  |  | Damaged |[ ]  Restore damaged inlet. |
|  |  | Diverter box not functioning per approved plan |[ ]  Repair diverter box. |
|  |  | Excess sediment / debris / trash |[ ]  Remove sediment / debris / trash. |
|  |  | Excess vegetation |[ ]  Control excess vegetation. |
|  |  | Erosion |[ ]  Repair erosion and establish ground cover. |
|  |
| Multiple | Inlet dissipator | Not required |[ ]    |
|  |  | Not accessible |[ ]  Make inlet dissipator accessible. |
|  |  | Satisfactory |[ ]  Continue maintenance. |
|  |  | Damaged |[ ]  Repair damaged dissipator. |
|  |  | Insufficient / displaced / excessive rip-rap |[ ]  Add / redistribute / remove rip rap as needed. |
|  |  | Excess sediment / debris / trash |[ ]  Remove sediment / debris / trash. |
|  |  | Excess vegetation |[ ]  Control excess vegetation. |
|  |  | Erosion |[ ]  Repair erosion and establish ground cover. |
|  |

|  |
| --- |
| **Detention** |
| **Select** | **Question** | **Answer** |[x]  **Instruction** |
| Multiple | Access (manholes, covers, ladder) | Not required |[ ]   |
|  |  | Not accessible |[ ]  Cannot access – confined space permit required by owner. |
|  |  | Satisfactory |[ ]  Continue maintenance. |
|  |  | Damaged manhole |[ ]  Repair damaged manhole. |
|  |  | Damaged cover |[ ]  Repair or replace damaged cover. |
|  |  | Damaged ladder / rungs |[ ]  Repair or replace damaged ladder / rungs. |
|  |  | Missing cover / ladder |[ ]  Replace missing cover / ladder. |
|  |
| Multiple | Underground storage | Not required |[ ]    |
|  |  | Not accessible |[ ]  Cannot access – confined space permit required by owner. |
|  |  | Satisfactory |[ ]  Continue maintenance. |
|  |  | Damaged or leaking |[ ]  Repair damaged / leaking storage. |
|  |  | Excess sediment / debris / trash |[ ]  Remove sediment / debris / trash. |
|  |  | Standing water exceeds design time |[ ]  Determine cause of persistent water and restore storage. |
|  |
| Multiple | Forebay | Not required |[ ]   |
|  |  | Not accessible |[ ]  Cannot access forebay - confined space entry required by owner. |
|  |  | Satisfactory |[ ]  Continue maintenance. |
|  |  | Damaged |[ ]  Repair damaged forebay. |
|  |  | Excess sediment / debris / trash |[ ]  Remove sediment / debris / trash. |
|  |  | Excess vegetation |[ ]  Control excess vegetation. |
|  |  | Erosion |[ ]  Repair erosion and establish ground cover. |
|  |  | Standing water exceeds design time |[ ]  Determine cause of persistent water and restore forebay. |
|  |
| Multiple | Drawdown orifice / device | Not accessible |[ ]  Cannot access orifice / device - confined space entry required by owner. |
|  |  | Satisfactory |[ ]  Continue maintenance. |
|  |  | Excess sediment / debris / trash |[ ]  Remove sediment / debris / trash. |
|  |  | Damaged |[ ]  Repair damaged orifice / device. |
|  |  | Improper elevation |[ ]  Restore structure elevation. |
|  |

|  |
| --- |
| **Outlet** |
| **Select** | **Question** | **Answer** |[x]  **Instruction** |
| Multiple | Outlet structure | Not accessible |[ ]  Make outlet accessible. |
|  |  | Satisfactory |[ ]  Continue maintenance. |
|  |  | Damaged |[ ]  Repair damaged outlet. |
|  |  | Improper elevation |[ ]  Restore outlet to proper elevation. |
|  |  | Excess sediment / debris / trash |[ ]  Remove sediment / debris / trash. |
|  |  | Excess vegetation |[ ]  Control excess vegetation. |
|  |  | Erosion |[ ]  Repair erosion and establish ground cover. |
|  |  | Standing water exceeds design time |[ ]  Determine cause of persistent water and restore outlet. |
|  |
| Multiple | Outlet dissipator | Not required |[ ]    |
|  |  | Not accessible |[ ]  Make outlet dissipator accessible. |
|  |  | Satisfactory |[ ]  Continue maintenance. |
|  |  | Damaged |[ ]  Repair damaged dissipator. |
|  |  | Insufficient / displaced / excessive rip-rap |[ ]  Add / redistribute / remove rip rap as needed. |
|  |  | Excess sediment / debris / trash |[ ]  Remove sediment / debris / trash. |
|  |  | Excess vegetation |[ ]  Control excess vegetation. |
|  |  | Erosion |[ ]  Repair erosion and establish ground cover. |
|  |
| Multiple | Outfall pollutant indicators | Not accessible |[ ]  Make marshes / pools accessible. |
|  |  | Satisfactory |[ ]  Continue maintenance. |
|  |  | Petroleum sheen |[ ]  ID and eliminate source of sheen. Contact appropriate agency. |
|  |  | Excess algae |[ ]  ID and eliminate source of algae. Contact appropriate agency. |
|  |  | Muddy |[ ]  ID and eliminate source of muddiness. Contact appropriate agency. |
|  |  | Sewage present |[ ]  ID and eliminate source of sewage. Contact appropriate agency. |
|  |  | Unknown substance |[ ]  ID and eliminate source of unknown substance. Contact appropriate agency. |
|  |

|  |
| --- |
| **Regulatory (Stormwater Administrator Only)** |
| **Select** | **Question** | **Answer** |[x]  **Instruction** |
| Single | Notice Issued | Not required |[ ]    |
|  |  | Required Maintenance Complete |[ ]    |
|  |  | Notice of Maintenance Required |[ ]    |
|  |  | Corrective Action Request |[ ]    |
|  |  | Notice of Violation |[ ]  Reference NOV # above for details. |
|  |

|  |  |
| --- | --- |
| **ANNUAL COMPLIANCE CERTIFICATION** |  |
| Owners of BMPs / SCMs subject to the Post-Construction Ordinance must submit an annual compliance certification ofall BMPs / SCMs beginning within one (1) year from the date of the approved as-built certification and each yearthereafter that includes: 1) 1 copy of the Inspection Checklist, 2) Photographic documentation of the inspection,3) Certification statement signed and sealed by a North Carolina Professional Engineer or LandscapeArchitect or other qualified individualThis can be submitted digitally (with required seals/signatures) or mailed to the address at the bottom of this form |  |
|  |  |
| Note that Conditional Certifications require Re-inspection and Certification after completion ofCorrective Actions. If this is a Re-inspection, check the box to the right.  |[ ]

**Compliance Certification Statement**

Based upon my physical and mechanical inspection of the constructed BMP / SCM

described herein on \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, I certify that at the time of my inspection

said BMP / SCM was functioning properly and was in compliance with the approved

plans and the terms and conditions of the approved maintenance agreement

required by the Post-Construction Storm Water Ordinance.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
| **Professional’s Signature** |  | **Date** |  | **(Professional seal)** |

**Non-Compliance Certification Statement**

Based upon my physical and mechanical inspection of the constructed BMP / SCM

described herein on \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, I certify that at the time of my inspection

said BMP / SCM was functioning properly and was in compliance with the approved

plans and the terms and conditions of the approved maintenance agreement

required by the Post-Construction Storm Water Ordinance with the exception of

the items listed in the above Inspection Sheet that require corrective action by the

Owner/Permittee within the time frame specified by The Stormwater Administrator

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
| **Professional’s Signature** |  | **Date** |  | **(Professional seal)** |

The inspection should be submitted to the

Western Piedmont Council of Governments Stormwater Administrator at:

WPCOG

P.O. Box 9026, Hickory, NC 28603

Jack.cline@wpcog.org